Progress Report No 7

LIFE00/ ENV/EE/000924

Estwaste




 Annex 1


Annex 1. Average results of wastewater analysis collected from pre-treatment sections of Kambja and Kadrina prototypes (Nov 2003 - May 2005 except July 2004)

Prototype
Parameter
No of samples
Before pretreatment
After 1st stage of pretreatment
After 2nd stage of pretreatment

Kambja
BOD7(mgO/l)
18
67,4
26,3
23,9

Kambja
total N (mg/l)
18
22,4
18,0
15,6

Kambja
total P (mg/l)
18
3,2
2,9
2,5

Vohnja
BOD7(mgO/l)
16
1165,0
56,1
20,1

Vohnja
total N (mg/l)
16
117,6
32,3
12,8

Vohnja
total P (mg/l)
16
17,8
5,7
1,3

Kihlevere
BOD7(mgO/l)
18
200,2
181,4
22,2

Kihlevere
total N (mg/l)
18
70,0
68,8
43,5

Kihlevere
total P (mg/l)
18
10,3
14,0
4,3

