LIFE 00 ENV/EE/000924

Estwaste

Progress report No 5


Annex 2

Results of chemical analyses from wastewater pre-treatment facilities of prototypes (Nov, 2003 – May, 2004)

[image: image1.wmf]prototype

parameter

no of

samples

before

pretreatment

after 1st stage

of pre-

treatment

after 2nd stage of

pre-treatment

Kambja

BOD7 (

mgO/l)

8

87,2

29,7

30,5

Kambja

total N (mg/l)

8

24,8

17,2

15,5

Kambja

total P (mg/l)

8

3,4

3,0

2,7

Vohnja

BOD7 (

mgO/l)

6

214,3

277,8

19,3

Vohnja

total N (mg/l)

6

185,0

20,4

20,2

Vohnja

total P (mg/l)

6

22,9

3,3

0,9

Kihlevere

BOD7 (

mgO/l)

8

1720,0

47,2

23,3

Kihlevere

total N (mg/l)

8

77,6

93,7

45,6

Kihlevere

total P (mg/l)

8

10,8

16,0

4,4


� EMBED Word.Picture.8  ���








[image: image2.wmf]prototype

parameter

no of

samples

before

pretreatment

after 1st stage

of pre-

treatment

after 2nd stage of

pre-treatment

Kambja

BOD7 (

mgO/l)

8

87,2

29,7

30,5

Kambja

total N (mg/l)

8

24,8

17,2

15,5

Kambja

total P (mg/l)

8

3,4

3,0

2,7

Vohnja

BOD7 (

mgO/l)

6

214,3

277,8

19,3

Vohnja

total N (mg/l)

6

185,0

20,4

20,2

Vohnja

total P (mg/l)

6

22,9

3,3

0,9

Kihlevere

BOD7 (

mgO/l)

8

1720,0

47,2

23,3

Kihlevere

total N (mg/l)

8

77,6

93,7

45,6

Kihlevere

total P (mg/l)

8

10,8

16,0

4,4

_1152092551.doc


prototype







parameter







no of 







samples







before 







pretreatment







after 1st stage 







of pre-







treatment







after 2nd stage of 







pre-treatment







Kambja







BOD7 (mgO/l)







8







87,2







29,7







30,5







Kambja







total N (mg/l)







8







24,8







17,2







15,5







Kambja







total P (mg/l)







8







3,4







3,0







2,7







Vohnja







BOD7 (mgO/l)







6







214,3







277,8







19,3







Vohnja







total N (mg/l)







6







185,0







20,4







20,2







Vohnja







total P (mg/l)







6







22,9







3,3







0,9







Kihlevere







BOD7 (mgO/l)







8







1720,0







47,2







23,3







Kihlevere







total N (mg/l)







8







77,6







93,7







45,6







Kihlevere







total P (mg/l)







8







10,8







16,0







4,4












